{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":69,"n_cols":6,"rows_kept":69,"merged":[[1,0,1,5],[2,0,2,5],[36,0,38,0],[36,1,38,1],[36,2,38,2],[36,3,38,3],[36,5,38,5],[39,0,43,0],[39,1,43,1],[39,2,43,2],[39,3,43,3],[39,5,43,5],[68,1,68,5]],"flags":["formulas_cached_only"]}
["附表1："]
["材料品牌清单一览表"]
["项目名称：内江川南邮政快递物流集散中心项目（内江邮件处理中心）二期工程"]
["序号","材料名称","规格、型号及特殊要求","单位","品牌、厂家、产地","备注"]
[1,"水泥","大厂","kg","峨胜、拉法基、四川双马、亚东、金顶"]
[2,"商品砼","各种标号","m3","供应站二级及以上资质"]
[3,"预拌砂浆","综合","T","满足地方政府对生产企业的相关要求"]
[4,"钢筋、钢材","综合","T","攀成钢、威钢、宝钢、成实冶金、鞍钢","建议有钢结构特级资质的厂家加工"]
[5,"预应力钢绞线","综合","T","天津银龙、湖南湘辉、水钢同鑫晟"]
[6,"岩棉、挤塑板","综合","T","成都欧宁、中天正通、四川科美斯"]
[7,"镀锌钢管","综合","m","河北华岐、天津友发、成都广丰","建议有钢结构特级资质的厂家加工"]
[8,"铝扣板(含配套龙骨）","综合","m2","四川省特丽达实业有限公司“特丽达”牌、广州市欧斯宝金属制品有限公司“欧斯宝”牌、广东伟业铝厂有限公司“伟业”牌"]
[9,"石膏板(含配套龙骨）","综合","m2","龙牌、拉法基、阿姆斯壮、泰山石膏、可耐福"]
[10,"室内墙地砖","综合","m2","冠珠、诺贝尔、东鹏、马可波罗、冠军"]
[11,"乳胶漆底漆、面漆","环保型","m2","立邦、华润、多乐士、ICI、紫荆花"]
[12,"无机涂料","环保型","m2","立邦、华润、多乐士、ICI、紫荆花"]
[13,"防火涂料","综合","kg","SKK、奥贝、兰陵、冠军、圣工"]
[14,"防水材料（卷材/涂膜）","综合","m2/kg","蜀羊、宏源、桂湖、东方雨虹"]
[15,"瓷砖填缝剂、粘接剂（内墙）","综合","支/kg","德高、能高、汉高、百得、中国牛元"]
[16,"瓷砖填缝剂、粘接剂（外墙）","抗泛碱","支/kg","德高、能高、汉高、百得、中国牛元"]
[17,"成品实木门、成品装饰复合实木门、成品夹板门(含门套、油漆）","综合","m2","千川、盼盼、美心、步阳、鸿基木业"]
[18,"成品装饰复合实木门(含门套、油漆）","综合","m2","千川、盼盼、美心、步阳、鸿基木业"]
[19,"钢质防火门","综合","m2","家彤利、金马、蓝盾、步阳、兴事发、盼盼"]
[20,"防火卷帘门","综合","m2","家彤利、金马、蓝盾、兴事发"]
[21,"木质防火门","综合","m2","家彤利、金马、蓝盾、步阳、兴事发、盼盼"]
[22,"玻璃","见节能图纸","m2","南玻、台玻、胜达、上海耀皮、成玻、洛玻、川玻、信义、明达"]
[23,"FPR板","综合","m2","艾珀耐特（Ampelite）、上海多凯、秦皇岛耀华、四川麦克威（MCWELL）"]
[24,"铝型材","综合","t","三星、阳光、美鱼"]
[25,"耐候胶、密封胶、玻璃胶、结构胶","综合","支/kg","GE、上海道康宁、瓦克、硅宝、百得"]
[26,"门五金件","综合","个/套","雅洁ARCHIE、汇泰龙、顶固、坚朗、国强、春光"]
[27,"铝合金门窗","综合","m2","富轩、金诺阳、欧铂曼、成都阳光、飞宇、新豪轩、蒙特欧、索哲、圣堡罗"]
[28,"塑钢门窗","综合","m2","海螺新材、实德、中财、维卡、中德、金鹏塑材"]
[29,"复合实木地板、强化木地板","综合","m2","圣象、升达、大自然、鸿基木业"]
[30,"防静电活动地板","综合","m2","阿姆斯壮、得嘉、洁福、福尔波、沈飞、华集 、汇丽"]
[31,"大理石、花岗石","综合","m2","产地：福建、山东、新疆"]
[32,"低压电缆、电线","综合","m","四川新蓉、四川新东方、四川电缆（塔牌）、远东电缆、上上电缆"]
[33,"电缆头热缩套管","综合","个","泰科电子上海瑞侃公司"]
[{"$nulls":4},"耐克森电气器件有限公司"]
[{"$nulls":4},"3M中国有限公司成都办事处"]
[34,"配电箱/桥架","综合","台/m","四川电器集团股份有限公司"]
[{"$nulls":4},"成都科星电力电器有限公司"]
[{"$nulls":4},"川开电气股份有限公司"]
[{"$nulls":4},"四川川纳电气有限公司"]
[{"$nulls":4},"（配电箱元器件选用沈阳斯沃、海格、常熟）"]
[35,"应急电源柜","综合","台","艾戈特、联源电气、谐创电气"]
[36,"开关、插座","综合","个","西蒙、公牛、西门子、松下、正泰"]
[37,"PPR、PE、HDPE、PVC、PVC-U管","综合","m","多联、川路、联塑"]
[38,"风管、风机、消声器、静压箱、风阀、风口","综合","m2/台/个","天宇坤建、泓奇、新木、艺凯"]
[39,"离心泵、潜污泵、喷淋泵及其控制柜","综合","只","上海东方、上海凯泉、浙江新界、上海通一"]
[40,"照明灯具光源","综合","个","欧普、雷士、三雄极光"]
[41,"照明灯具、指示灯","综合","个","欧普、雷士、三雄极光"]
[42,"阀门","综合","个","广东永泉、上海冠龙、大众阀门"]
[43,"水表","综合","组","锦城、蜀水、诺特"]
[44,"风管材质","综合","m2","热镀锌钢板风管:武钢、宝钢、鞍钢、首钢，镀锌量为220g/m2"]
[45,"风机","综合","台","格瑞德、沃克、新木"]
[46,"消声器、静压箱","综合","个","天宇坤建、泓奇、艺凯、新木"]
[47,"风阀、风口","综合","个","天宇坤建、泓奇、艺凯、新木"]
[48,"报警设备","综合","台","秦皇岛海湾、北京利达、上海松江、泛海三江"]
[49,"沟槽管件","综合","个","潍坊泊客、潍坊宇昊、潍坊大方通、潍坊亿佰通"]
[50,"消火栓","综合","台","成都鑫泰、成都久安、四川成发、萃联川消"]
[51,"水流指示器、信号蝶阀","综合","个","成都宇宝、成都捷晟、福建广威、福建双龙"]
[52,"湿式报警阀","综合","个","成都宇宝、成都捷晟、福建广威、福建双龙"]
[53,"喷头","综合","个","成都宇宝、成都捷晟、福建广威、福建双龙"]
[54,"水泵结合器","综合","个","福建广威、福建双龙、四川成发"]
[55,"灭火器","综合","个","四川龙威、四川光兴、四川成消"]
[56,"七氟丙烷","综合","台","北京正天齐、湖南馨龙、四川迪威"]
[57,"防火门监控设备","综合","台","江苏荣夏、上海松江、中消恒安、北京利达、泛海三江"]
[58,"消防电源监控设备","综合","台","江苏荣夏、上海松江、中消恒安、北京利达、泛海三江"]
["注：","以上涉及消防要求，必须满足消防相关规范和地方行政管理部门规定。若特殊原因导致以上所列品牌均无法供货，发包人有权另行指定品牌范围；或由承包人提供同等档次品牌报发包人同意后实施采购。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}